## Add Devices Loop A
Description | Verify Volt Drop and Volt Drop(worst case) for other loops |  |  |  |  | Color Codes |  | Note: Do not change the column/rows index | Loop | Column
Used for methods/functions | verifyVoltageDropCalculation | [5 empty] | Constants |  | Built-in Loop-A | 2 | DCUnit
User Story | NGC-491/T378 OR TC-129 | Max Voltage Drop Value (V) | 14.40 | Volt Drop (V) |  |  | Input Value |  | Built-in Loop-B | 3 | Volt Drop (V)
|  | Max Voltage Drop Worst Case Value | 14.40 | Volt Drop (worst case) |  |  | Expected value |  | Built-in Loop-C | 4 | Volt Drop (worst case)
Device | Gallery Type | Label | isMultichannel | DC Units | Voltage Drop (V) | Voltage Drop (Worst Case) | Volt drop loading detail name | Volt drop worst case loading detail name
801 PH | Detectors | 801 PH - 1 | FALSE | 233 | 0.08 | 0.16 | Volt Drop (V) | Volt Drop (worst case)
LPAV 3000 | Sounders/Beacons | LPAV 3000 - 2,LPAV 3000 - 3 | TRUE | 280 | 0.42 | 0.78 | Volt Drop (V) | Volt Drop (worst case)

## Add Devices Loop B
Description | Verify Volt Drop and Volt Drop(worst case) for other loops |  |  |  |  | Color Codes |  | Note: Do not change the column/rows index | Loop | Column
Used for methods/functions | verifyVoltageDropCalculation | [5 empty] | Constants |  | Built-in Loop-A | 2 | DCUnit
User Story | NGC-491/T378 OR TC-129 | Max Voltage Drop Value (V) | 14.40 | Volt Drop (V) |  |  | Input Value |  | Built-in Loop-B | 3 | Volt Drop (V)
|  | Max Voltage Drop Worst Case Value | 14.40 | Volt Drop (worst case) |  |  | Expected value |  | Built-in Loop-C | 4 | Volt Drop (worst case)
Device | Gallery Type | Label | isMultichannel | DC Units | Voltage Drop (V) | Voltage Drop (Worst Case) | Volt drop loading detail name | Volt drop worst case loading detail name
LPBS 3000 | Sounders/Beacons | LPBS 3000 - 1,LPBS 3000 - 2 | TRUE | 278 | 0.41 | 0.76 | Volt Drop (V) | Volt Drop (worst case)