## Add Devices Loop A
Note: Do not change the column/rows index |  |  |  | DC Unit Loading Details Name | DC Units on UI after adding devices | 345.4
Description | Verify current DCCalculation | Color Codes |  | Current (DC Units) | DC Units on UI after deleting other devices | 332.3
Used for methods/functions | VerifyCurrentDCCalculation |  | Constants | Current (worst case) | Panel LED | 5
User Story | NGC-1826/TC-63769 |  | Input Value |  | Max Loop Driver Load | 220
Expected value
Device | Gallery Type | Label | Default Flash rate | Default volume | Change Flash rate | Change Volume | Device DC Units | Assign Base/Default Base | Row Index | Base DC Units | Integral LED | Remote LED | Trip Current
460PH | Detectors | 460PH - 1 | NA | NA | NA | NA | 1 | NA | NA | NA | NA | NA | NA
420CP | Call points | 420CP - 2 | NA | NA | NA | NA | 1.1 | NA | NA | NA | NA | NA | NA
460PC | Detectors | 460PC - 3 | NA | NA | NA | NA | 1.1 | 8 | 6 | NA | NA | NA | NA
420CP-I | Call points | 420CP-I - 4 | NA | NA | NA | NA | 1.2 | NA | NA | NA | NA | NA | NA
Note on I10: Alpesh Dhakad: 430SB [516.800.710] @ 90dB & 801RIL

## Update Devices
Note: Do not change the column/rows index |  |  |  | DC Unit Loading Details Name | DC Units on UI after adding devices | 345.4
Description | Verify current DCCalculation | Color Codes |  | Current (DC Units) | DC Units on UI after deleting 1 device | 332.3
Used for methods/functions | VerifyCurrentDCCalculation |  | Constants | Current (worst case) | DC Units on UI after removing base | 299.32
User Story | NGC-1826/TC-63769 |  | Input Value |  | DC Units on UI after deleting device | 286.32
Expected value
Device | Gallery Type | Label | Default Flash rate | Default volume | Change Flash rate | Change Volume | Device DC Units | Assign Base/Default Base | Base Property Index | Base DC Units | Integral LED | Remote LED | Trip Current
420CP | Sounders/Beacons | 420CP - 2 | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | 0 | 6
460PC | Detectors | 460PC - 3 | NA | NA | NA | NA | 1.1 | 8 | 6 | NA | NA | NA | NA
460PH | Detectors | 460PH - 1 | NA | NA | NA | NA | 1 | NA | NA | NA | NA | NA | NA
Note on I9: Alpesh Dhakad: 430SB [516.800.710] @ 90dB & 801RIL