## Add Devices Loop A
Description | Verify Volt Drop and Volt Drop(worst case) for other loops |  |  |  |  | Color Codes |  | Note: Do not change the column/rows index
Used for methods/functions | verifyVoltageDropCalculation | [5 empty] | Constants
User Story | NGC -1290 | Max Voltage Drop Value (V) | 14.40 |  |  |  | Input Value
|  | Max Voltage Drop Worst Case Value | 14.40 |  |  |  | Expected value
Device | Gallery Type | Label | isMultichannel | DC Units | Voltage Drop (V) | Voltage Drop (Worst Case)
LPBS 3000 | Sounders/Beacons | LPBS 3000 - 1,LPBS 3000 - 2 | TRUE | 287 | 0.66 | 1.26
801 CH | Detectors | 801 CH - 3 | FALSE | 300 | 0.70 | 1.34

## Add Devices Loop B
Description | Verify Volt Drop and Volt Drop(worst case) for other loops |  |  |  |  | Color Codes |  | Note: Do not change the column/rows index
Used for methods/functions | verifyVoltageDropCalculation | [5 empty] | Constants
User Story | NGC -1290 | Max Voltage Drop Value (V) | 14.40 |  |  |  | Input Value
|  | Max Voltage Drop Worst Case Value | 14.40 |  |  |  | Expected value
Device | Gallery Type | Label | isMultichannel | DC Units | Voltage Drop (V) | Voltage Drop (Worst Case)
LPBS 3000 | Sounders/Beacons | LPBS 3000 - 1,LPBS 3000 - 2 | TRUE | 367 | 0.75 | 1.44

## Add Devices Loop C
Description | Verify Volt Drop and Volt Drop(worst case) for other loops |  |  |  |  | Color Codes |  | Note: Do not change the column/rows index
Used for methods/functions | verifyVoltageDropCalculation | [5 empty] | Constants
User Story | NGC -1290 | Max Voltage Drop Value (V) | 14.40 |  |  |  | Input Value
|  | Max Voltage Drop Worst Case Value | 14.40 |  |  |  | Expected value
Device | Gallery Type | Label | isMultichannel | DC Units | Voltage Drop (V) | Voltage Drop (Worst Case)
801 PH | Detectors | 801 PH - 1 | FALSE | 233 | 0.04 | 0.08
CP 820 | Call points | CP 820 - 2 | FALSE | 246.1 | 0.08 | 0.16

## Add Devices Loop D
Description | Verify Volt Drop and Volt Drop(worst case) for other loops |  |  |  |  | Color Codes |  | Note: Do not change the column/rows index
Used for methods/functions | verifyVoltageDropCalculation | [5 empty] | Constants
User Story | NGC -1290 | Max Voltage Drop Value (V) | 14.40 |  |  |  | Input Value
|  | Max Voltage Drop Worst Case Value | 14.40 |  |  |  | Expected value
Device | Gallery Type | Label | isMultichannel | DC Units | Voltage Drop (V) | Voltage Drop (Worst Case)
LI800 | Other | LI800 | FALSE | 256.7 | 0.03 | 0.06
801 H | Detectors | 801 H - 126 | FALSE | 269.7 | 0.08 | 0.16