## Add Devices Loop A
Description | Verify Voltage Drop Calculation on changing cable length and cable resistance |  |  |  |  | Color Codes |  | Note: Do not change the column/rows index
Used for methods/functions | verifyVoltageDropCalculation,ChangeCableLength,verifyVoltDropWorstCaseValue,verifyVoltDropValue | [5 empty] | Constants
User Story | NGC -1288 | Max Voltage Drop Value (V) | 14.40 |  |  |  | Input Value
|  | Max Voltage Drop Worst Case Value | 14.40 |  |  |  | Expected value
Device | Gallery Type | Label | isMultichannel | DC Units | Voltage Drop (V) | Voltage Drop (Worst Case)
LPBS 3000 | Sounders/Beacons | LPBS 3000 - 1,LPBS 3000 - 2 | TRUE | 287 | 0.26 | 0.47
801 CH | Detectors | 801 CH - 3 | FALSE | 300 | 0.30 | 0.55
LI800 | Other | LI800 | FALSE | 310.6 | 0.33 | 0.61
801 PH | Detectors | 801 PH - 4 | FALSE | 323.6 | 0.37 | 0.69