## 24V_And_SystemLoad
Note: Do not change the column/rows index
Description | To verify Power Calculations error and warning along with Indicators | Color Codes
Used for methods/functions | verifyPowerCalculations |  | Constants
User Story | NGC-543/TC-52210 and TC-52211 |  | Input Value | Panel Type
|  |  | Expected value | PFI
Device | Label | Device Quantity | Expected Power Calculation Text
FV 411 F | FV 411 F - 18 | 18 | NA
FV 411 F | FV 411 F - 19 | 1 | Load at 24V has reached 95% for panel Node1-Pro32xD,System load has reached 95% for panel Node1-Pro32xD
FV 411 F | FV 411 F - 20 | 2 | Load at 24V has reached 100% for panel Node1-Pro32xD,System load has reached 100% for panel Node1-Pro32xD

## 40V_And_DC_Units
Note: Do not change the column/rows index
Description | To verify Power Calculations error and warning along with Indicators | Color Codes
Used for methods/functions | verifyPowerCalculations |  | Constants
User Story |  |  | Input Value | Panel Type
|  |  | Expected value | PFI
Device | Label | Device Quantity | Expected Power Calculation Text
DDM 800 Loop | DDM 800 Loop - 13 | 13 | Load at 40V has reached 100% for panel Node1-Pro32xD-Built-in Loop-A
DDM 800 Loop | DDM 800 Loop - 14 | 1 | Load at 40V has reached 95% for panel Node1-Pro32xD-Built-in Loop-A,DC value has reached 95% for panel Node1-Pro32xD,
DDM 800 Loop | DDM 800 Loop - 15 | 1 | Load at 40V has reached 100% for panel Node1-Pro32xD-Built-in Loop-A,DC value has reached 100% for panel Node1-Pro32xD

## 40V_AC_DC_Units
Note: Do not change the column/rows index
Description | To verify Power Calculations error and warning along with Indicators | Color Codes
Used for methods/functions | verifyPowerCalculations |  | Constants
User Story |  |  | Input Value | Panel Type
|  |  | Expected value | PFI
Device | Label | Device Quantity | Expected Power Calculation Text
DDM 800 Loop | DDM 800 Loop - 13 | 13 | Load at 40V has reached 100% for panel Node1-Pro32xD-Built-in Loop-A
DDM 800 Loop | DDM 800 Loop - 14 | 36 | Load at 40V has reached 100% for panel Node1-Pro32xD-Built-in Loop-A,DC value has reached 100% for panel Node1-Pro32xD,AC value has reached 95% for panel Node1-Pro32xD
DDM 800 Loop | DDM 800 Loop - 15 | 2 | Load at 40V has reached 100% for panel Node1-Pro32xD-Built-in Loop-A,DC value has reached 100% for panel Node1-Pro32xD,AC value has reached 100% for panel Node1-Pro32xD

## IS_Units
Note: Do not change the column/rows index |  |  |  |  | Devices | Expected Power Calculation Text
Description | To verify Power Calculations error and warning along with Indicators | Color Codes |  |  | Initial Added Devices | NA
Used for methods/functions | verifyPowerCalculations |  | Constants
User Story |  |  | Input Value | Panel Type
|  |  | Expected value | PFI
Device | Label | Device Tye | Expected Power Calculation Text
Exi800 | Exi800 | Other | NA
S271i+ | S271i+ - 1 | Detectors | NA
S271i+ | S271i+ - 2 | Detectors | NA
S271i+ | S271i+ - 3 | Detectors | NA
S271i+ | S271i+ - 4 | Detectors | NA
S271i+ | S271i+ - 5 | Detectors | NA
S271i+ | S271i+ - 6 | Detectors | NA
S271i+ | S271i+ - 7 | Detectors | NA

## Extra_ISUnits
Note: Do not change the column/rows index |  |  |  |  | Devices | Expected Power Calculation Text
Description | To verify Power Calculations error and warning along with Indicators | Color Codes |  |  | Initial EXI Devices | Extra IS units value has reached 100% for panel Node1-Pro32xD
Used for methods/functions | verifyPowerCalculations |  | Constants
User Story |  |  | Input Value | Panel Type
|  |  | Expected value | PFI
Device | Label | Device Tye | Change cable Capcitance
Exi800 | Exi800 | Other | 10
Exi800 | Exi800 | Other | 10
Exi800 | Exi800 | Other | 10
Exi800 | Exi800 | Other | 10
Exi800 | Exi800 | Other | 10