## Add Panels
Note: Do not change the column/rows index
Description | Verify maximum Battery standby and Battery alarm limits | Color Codes
Used for methods/functions |  |  | Constants
User Story | NGC-488 |  | Input Value
Expected value
Panel Name | Panel Node | CPU Type | Panel Type | Row Number | PSU Type | System Load | Default System Load
MX4000 | Node1 | CPU 800 | FIM | 16 | PSU830 | 0.224 | 0.224
MX4000 | Node1 | CPU 800 | FIM | 16 | PSU800 | 0.231 | 0.224
MX2-100 | Node1 | CPU 800 | FIM | 16 | PSU820 | 0.224 | 0.224
MX2-100 | Node1 | CPU 800 | FIM | 16 | PSU821 | 0.224 | 0.224

## Sheet1
MZX 125 | Node1 | CPU 800 | FIM | 13 | 1.900
P405D | Node1 |  | FIM | 13 | 3.100
Pro32xD | Node1 |  | PFI | 14 | 5.000
MX2-100 | Node1 | CPU 800 | FIM | 13 | 2.500
P885D | Node1 |  | FIM | 13 | 2.500