## Sheet1
MZX 125 | Node1 | CPU 800 | FIM | 13 | 1.900
P405D | Node1 |  | FIM | 13 | 3.100
Pro32xD | Node1 |  | PFI | 14 | 5.000
MX2-100 | Node1 | CPU 800 | FIM | 13 | 2.500
P885D | Node1 |  | FIM | 13 | 2.500

## Add Panels
Note: Do not change the column/rows index
Description | Verify the respective Normal Load and Alarm load property on changing power source | Color Codes
Used for methods/functions |  |  | Constants
User Story |  |  | Input Value | [7 empty] | Changed Power Supply | Battery Standby | Battery Alarm Limits
|  |  | Expected value | [7 empty] | 5V | 0.286 | 0.445
[11 empty] | Dual (24V/5V) | 0.286 | 0.445
Panel Name | Panel Node | CPU Type | Panel Type | Row Number | Add Device | Device Type | Label | Default Power Supply | Default Battery Standby | Default Battery Alarm Limits | Remote Power | 0.276 | 0.426 | AlarmLoadingDetail | StandbyLoadingDetail
Pro32xD | Node1 |  | PFI | 16 | MPM800 | Miscellaneous | MPM800-1 | 24V | 0.276 | 0.426 |  |  |  | Alarm Current(A) | Standby Current(A)