## Germany
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3475/T1838/T1840/T1841 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Belgium
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3478/T2322/T2323/T2324 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro16xD | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX250 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P885D | Node1 |  | FIM | 3.000 | 5V Rail(A) | 2.500 | 24V Rail(A) | 2.200 | 40V Rail(A) | 2.500 | Total System Load(A) | 2.500 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Czech
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3477/T1870/T1871/T1872 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro32xD | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX125 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 1.900 | 24V Rail(A) | 1.250 | 40V Rail(A) | 1.900 | Total System Load(A) | 1.900 | Standby Current(A) | 2.500 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P485D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Swiss
Note: Do not change the column/rows index
Description | Switzerland Market |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3476/T2667/T2669/T2670 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro32xBB | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MX1000 | Node1 |  | FIM | 3.000 | 5V Rail(A) | 2.500 | 24V Rail(A) | 2.200 | 40V Rail(A) | 2.500 | Total System Load(A) | 2.500 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P115SCH | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Portugal
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3479/T2500 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Slovakia
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-2930/T3242/T3241/T3243 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Italy
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3145/T2257/T2258/T2256 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Spain
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3103/T2074/T2075/T2076 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Turkey
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3191/T3331/T3332/T3330 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Croatia
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3139/T2519 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro32xD | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX125 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 1.900 | 24V Rail(A) | 1.250 | 40V Rail(A) | 1.900 | Total System Load(A) | 1.900 | Standby Current(A) | 2.500 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P805D | Node1 |  | FIM | 3.000 | 5V Rail(A) | 2.500 | 24V Rail(A) | 2.200 | 40V Rail(A) | 2.500 | Total System Load(A) | 2.500 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Greece
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-4119/T3199 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro32xD | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX125 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 1.900 | 24V Rail(A) | 1.250 | 40V Rail(A) | 1.900 | Total System Load(A) | 1.900 | Standby Current(A) | 2.500 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P805D | Node1 |  | FIM | 3.000 | 5V Rail(A) | 2.500 | 24V Rail(A) | 2.200 | 40V Rail(A) | 2.500 | Total System Load(A) | 2.500 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Netherlands
Note: Do not change the column/rows index
Description | Netherlands |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3144/T2213/T2215/T2216 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Austria
Note: Do not change the column/rows index
Description | Austria |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3817/T2361/T2363/T2364 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Denmark
Note: Do not change the column/rows index
Description | Denmark |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-2913/T2806/T2807/T2808 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254S | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Russia
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-2929/T2074/T2075/T2076 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Finland
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3130/T2962/T2963/T2964 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254S | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Hungary
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-3104/T3011/T3012/T3013 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro815D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX254 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Norway
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-2931/T3092/T3093/T3094 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro32xD | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX125 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 1.900 | 24V Rail(A) | 1.250 | 40V Rail(A) | 1.900 | Total System Load(A) | 1.900 | Standby Current(A) | 2.500 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P805D | Node1 |  | FIM | 3.000 | 5V Rail(A) | 2.500 | 24V Rail(A) | 2.200 | 40V Rail(A) | 2.500 | Total System Load(A) | 2.500 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## Poland
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-2920/T3126/T3127/T3128 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro32xD | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX125 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 1.900 | 24V Rail(A) | 1.250 | 40V Rail(A) | 1.900 | Total System Load(A) | 1.900 | Standby Current(A) | 2.500 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P805D | Node1 |  | FIM | 3.000 | 5V Rail(A) | 2.500 | 24V Rail(A) | 2.200 | 40V Rail(A) | 2.500 | Total System Load(A) | 2.500 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A

## UK
Note: Do not change the column/rows index
Description |  |  | Color Codes
Used for methods/functions |  |  |  | Constants
User Story | NGC-2741/T3375 |  |  | Input Value
Expected value
Panel Name | PanelNode | CPUType | PanelType | expectedMax5V | LoadingDetailName5V | expectedMax24V | LoadingDetailName24V | expectedMax40V | LoadingDetailName40V | expectedMaxTotalSystemLoad | LoadingDetailNameTotalSystemLoad | expectedMaxStandby Current | LoadingDetailNameStandby Current | expectedMaxAlarm Current | LoadingDetailNameAlarm Current | expected Max AC Units | expectedMax DC Units | expectedMax Volt Drop Mean | expectedMax Volt Drop Worst | Loading Loop Name
Pro885D | Node1 |  | PFI | 1.000 | 5V Rail(A) | 5.000 | 24V Rail(A) | NA | 40V Rail(A) | 5.000 | Total System Load(A) | 3.000 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 4000 | 14.40 | 14.40 | Built-in Loop-A
MZX125 | Node1 |  | FIM | 1.500 | 5V Rail(A) | 1.900 | 24V Rail(A) | 1.250 | 40V Rail(A) | 1.900 | Total System Load(A) | 1.900 | Standby Current(A) | 2.500 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A
P405D | Node1 |  | FIM | 1.500 | 5V Rail(A) | 3.100 | 24V Rail(A) | 1.250 | 40V Rail(A) | 3.100 | Total System Load(A) | 3.100 | Standby Current(A) | 5.000 | Alarm Current(A) | 250 | 2200 | 14.40 | 14.40 | Built-in Loop-A